- RELAY DETAILS:

| Type No : | TAPCON 260 | Designation |  |
| --- | --- | --- | --- |
| Serial Number |  | Rated Voltage : Vn |  |
| Make |  | Aux. Volts(ETH) : Vx |  |

..\WorkInstructions\77.pdf

For Mechanical Check/Visual Inspection and Electrical Tests Use C.L. of W.I.77

2. VOLTAGE LEVEL TEST:

VT Ratio:  							Band Width:

| Setting Voltage (V) | Actual Voltage (V) |  | Measured Voltage (V) |  | Balance |
| --- | --- | --- | --- | --- | --- |
|  | Raise | Lower | Raise (U1) | Lower (U2) |  |

Regulating Value: Ubal = (U1+U2) / 2

- BAND WIDTH TEST :

Voltage:

| Setting Band Width (%) | Actual Voltage (V) |  | Measured Voltage (V) |  | Band Width Voltage (V) | Band Width (%) |
| --- | --- | --- | --- | --- | --- | --- |
|  | Raise | Lower | Raise (U1) | Lower (U2) |  |  |

Band Width Voltage: Vbw = (U2-U1) / 2

Band Width Percentage: = ((U2-U1) / (U2+U1)) * 100

- TIMING TEST:

VT Ratio:  								Band Width:

| Injected Voltage (V) |  | Setting Time (S) |  | Measured Time (S) |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Raise | Lower | T1 | T2 | Raise |  | Lower |  |
|  |  |  |  | T1 | T2 | T1 | T2 |

- UNDER VOLTAGE TEST:

VT Ratio:

| Setting Voltage (%) | Desired Voltage (V) | Measured Voltage (V) |  |
| --- | --- | --- | --- |
|  |  | Pick Up | Drop Off |

- OVER VOLTAGE TEST:

VT Ratio:

| Setting Voltage (V) | Desired Voltage (V) | Measured Voltage (V) |  |
| --- | --- | --- | --- |
|  |  | Pick Up | Drop Off |

- OVER CURRENT TEST:

CT Ratio:

| Setting Current (%) | Desired Primary Current (A) | Measured Primary Current (A) |  |
| --- | --- | --- | --- |
|  |  | Pick Up | Drop Off |